TOWN OF LIVONIA

MOBILE HOME REQUIREMENTS (owned)

(1) 	Installation, setup, anchoring, etc. shall be according to HUD standards, and the 	Louisiana Manufactured Housing Commission as per R.S. Title 51, Trade and 	Commmerce, 912.21-912.53.  (effective 3/12/18)

(2)  	All mobile homes must meet the manufacturing standards established by the 	1994 requirements by HUD and the Louisiana Manufactured Housing 	Commission as per R.S. Title 51, Trade and Commerce.  (effective 3/12/18)

(3)  	The siding of the mobile home shall be painted metal, vinyl, Masonite, wood or 	other compatible-looking material meeting HUD and the Louisiana Manufactured 	Housing Commission as per R.S. Title 51, Trade and Commerce.  This outside 	appearance shall be maintained during the term of the mobile home’s stay in the 	Town of Livonia. (effective 3/12/18)

(4)  	All windows and doors shall be intact without any breaks or structural defects.  	No plywood or other coverings shall substitute for a window or door.

(5)	The roof must be intact with no leakage and shall have a roof pitch as required 	by HUD and the Louisiana Manufactured Housing Commission as per R.S. Title 	51, Trade and Commerce, and shall have a surface of wood shakes, asphalt 	composition, wood shingles, fiberglass, or metal.  The roofing materials that 	cover the home must be uniform and composed of the same material which is of 	the same color and consistency.

(6) 	The dwelling shall comply with any other current parish, state, federal, and 	municipal ordinances in place.

(7)  	Every floor, interior wall, and ceiling shall be adequately protected against the 	passage and harborage of vermin and rodents, and shall be kept in sound 	condition and good repair.  Every floor shall be free of rotted flooring materials.  	Every interior wall and ceiling shall be maintained in a tight weatherproof 	condition

(8)   The skirting enclosure from the bottom of the mobile home to the ground 	enclosing the entire perimeter of the mobile home shall be made of vinyl mobile 	home skirting or being vinyl lattice work with a maximum of two-inch (2”) 	openings.  (effective 3/12/18)

(9) 	Travel trailers, motor homes, campers, and any other recreational vehicles are 	prohibited from being placed on a lot and used as a dwelling or occasional use.

(10)	Sewer treatment shall comply with all state, parish, and municipal standards.  	Each mobile home shall have its own sewer treatment system.  No two or more 	mobile homes shall be allowed to share a common sewer treatment system 	unless it is part of a public sewer treatment system approved by the town for 	public sewer disposal.

(11) 	Each mobile home shall have steps and structurally sound handrails leading up 	to any and all entrances & exits of the home.

(12)  Electric service, outlets and fixtures.  Every dwelling unit and all public and 	common areas shall be supplied with electric service, over-current protection 	devices, electric outlets, and electric fixtures which are properly installed, 	which shall be maintained in safe working condition, and shall be energized 	by an approved source of electric power and in compliance with the 	applicable ordinances of the city and state.  (effective 3/12/18)

(13)	The minimum distance from any part of the mobile home to any lot line on the 	property on which the mobile home is parked shall be at least twenty (20) feet.

(14)	Mobile homes shall not be allowed to be utilized for commercial business, as an 	extension of a commercial business, or as a storage structure for a commercial 	business or residence or other similar use within the town limits.

(15)  	Used mobile homes locating or relocating in the corporate limits of Livonia shall 	be eight (8) years old or less at the time of installation.

(16)  	If regulations exist within a particular subdivision, street, or neighborhood which 	is stricter than the guidelines set forth in this ordinance, the stricter regulations 	shall apply.

(17)  	The mobile home owner shall have ninety (90) days to comply with the above 	requirements after the building permit clearance is issued by the Town of Livonia.

(18)	Physical (911) address must be placed on the mobile home.  Numbers must be 	four (4) inch high reflective.  If house is more than 100 ft. from a public road the 	numbers must be placed roadside.

All requirements listed above must be met before utility services will be connected.

When all requirements have been met, please call this office at 225-637-2981 during office hours for an inspection.

Effective 07/01/06 and 3/13/18